Proline t-mass 65 (Flow Transmitter) / Order Code: 65I-30AA0AD137AACR / 85-260 VAC , 18.2 VA , 50-60 HZ / I-OUT(HART) Exi active / IP67 , NEMA ,Type4X /

/ for FT-20902 & FT21101

**QUANTITY: 2 NO**

**Manufacturer: ABB**